## product
# | Number | Name | Short_Description | Categories | Brand | Description | product_info | product_property | product_safety_information | rowid
1 | 1.70245 | Vanadium standard solution | traceable to SRM from NIST NH₄VO₃ in HNO₃ 0.5 mol/l 1000 mg/l V Certipur® | ICP & AAS standards | Supelco | General description\nThis certified reference material (CRM) is produced in accordance with ISO 17034 and characterized in accordance with ISO/IEC 17025. This CRM is traceable to SI unit kg and measured against primary material from a National Metrology Institute (NMI), e.g. NIST.\n Please visit \nISO certificates and Site Quality Self-Assessments\n to access the current certificates of accreditation. \n Download your certificate at \nhttp://www.sigma-aldrich.com\n to view certified values, including uncertainty and expiry date.\nApplication\nVanadium standard solution may be used as acalibration standard for atomic absorption spectroscopy.\nAnalysis Note\n1000 mg/L V in 0.5 mol/L HNO\n3\n, prepared with high-purityNH\n4\nVO\n3\n, HNO\n3\n, and water\nOther Notes\nFor a complete product listing of our Certipur\n®\n range of CRMs for ICP and AAS, technical information, and example certificates please visit our \nICP & AAS standards website\nLegal Information\nCERTIPUR is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 1
2 | 12124 | N-Methyl-N-trimethylsilyltrifluoroacetamide activated III | for GC derivatization, LiChropur™, activated with imidazole | Chromatography & Spectroscopy Reagents | Supelco | Application\n2,2,2-trifluoro-N-methyl-N-trimethylsilylacetamide (N-Methyl-N-trimethylsilyltrifluoroacetamide activated III) may be used for derivatization, in an experimental study conducted to perform determination of scopolamine in human serum, by capillary column gas chromatographic-ion trap tandem mass spectrometric.\nAnalysis Note\nDerivatizing agent for the per(trimethylsilylation) of analytes for GC and GC-MS\nOther Notes\nDerivatizing agent for the per(trimethylsilylation) of analytes for GC and GC-MS\nLegal Information\nLiChropur is a trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 2
3 | TZHVSL210 | Steritest® NEO Device | This green base canister with a single needle is ideal for testing solvents, creams, ointments, and veterinary injectables. | Sterility Testing Consumables, Media & Instruments | Millipore | General description\nDevice Configuration: 2 canisters\nSteritest\n®\n NEO Device is a membrane filtration device for sterility testing of filterable pharmaceutical products. The device simplifies every aspect of testing, from handling to traceability. The closed system minimizes false positives and offers the highest levels of quality and reliability, ensuring that pharmaceutical products are never exposed to the environment during the testing process. This test system offers an optimized and fully regulatory compliant testing process, when used with the Steritest\n®\n Symbio pump, specific accessories and high-quality culture media and rinsing fluids. The canister connections and reinforced base structure provide better resistance to pressure. The single needle adapter is used for products in vials or ampoules. A separate vent needle is included for the transfer of the test product, culture media or rinsing buffer. The canisters come with green canister base indicating increased chemical compatibility with solvents due to Durapore\n®\n Poly vinylidene fluoride (PVDF) membrane and specific canister polymer (nylon). This optimizes the chemical compatibility of products dissolved in solvents.\nApplication\nThe Steritest\n®\n NEO Device is used for sterility testing of products dissolved in solvents (such as creams, ointments and veterinary injectables), requiring increased chemical compatibility.\nFeatures and Benefits\nOne-stop-shop for sterility testing with our devices, pumps, media, fluids, and services\nSteritest\n®\n devices are manufactured in our Center of Excellence in Molsheim, France, with high-quality control standards maintaining the Certificate of Quality for each lot.\nNew needle design\nThe design of this new needle has been optimized with short needle length, grips, and ridges to offer dexterity and security to the operator while piercing the small container \nSmarter workflow\nThe new Steritest\n®\n NEO cartridge device benefits from all the improvements such as colored clamps, graduations for accurate volume measurement, optimized identification, and traceability with the new peel-off label\nCompletely closed set up\nPharmaceutical products are never exposed to the environment during the testing process with Steritest\n®\n NEO devices. Filtration, rinsing, media addition and incubation are conducted within a closed system.\nConsistent performance\n100% integrity testing, strict physical and microbiological tests performed at every step of the assembly of the Steritest\n®\n NEO device before release from manufacturing.\nNew tubing disconnection tool\nThe Velax\n®\n cutting clamps are mounted on all Steritest\n®\n NEO devices and allow safe and easy cutting of the tubes.\nPackaging\nPack of 10 single packed blisters per box\nLegal Information\nDurapore is a registered trademark of Merck KGaA, Darmstadt, Germany\nSTERITEST is a registered trademark of Merck KGaA, Darmstadt, Germany\nVELAX is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 0 | 3
4 | 43067 | cis,cis-9,12-Hexadecadienoic acid | analytical standard |  | Supelco |  | 1 | 1 | 1 | 4
5 | TRAUINTESIL | Perform Automatic Filter Integrity Testing |  |  |  | General description\nUsing a combination of theory and hands-on instruction, you will learn the key procedures of filter integrity testing, how to read printouts from automatic filter-integrity testers and troubleshoot filter-integrity test processes. This two-day course covers all current filter integrity tests, including bubble point, diffusive flow and water-flow integrity testing that apply to all liquid and gas membrane filtration applications. | 0 | 0 | 0 | 5
6 | 617156 | Benzoic acid-d | 98 atom % D | Stable Isotopes | Sigma-Aldrich | Packaging\nThis product may be available from bulk stock and can be packaged on demand. For information on pricing, availability and packaging, please contact \nStable Isotopes Customer Service\n. | 1 | 1 | 1 | 6
7 | 1.00610 | WL Nutrient Medium, modified | suitable for microbiological culture, for yeasts, for bacteria | Microbial Culture Media | Millipore | General description\nWL (Wallerstein Laboratory) Nutrient Medium (modified) is a modification of WL Nutrient Medium for the microbiological quality control employed in the beer-brewing industry.\nWL Nutrient Medium has been modified by increasing the pH and reducing glucose concentration to facilitate the cultivation of a broad range of yeasts and bacteria from raw materials and the brewing industry environment.\nApplication\nWL Nutrient Medium (modified) is suitable for the isolation and enumeration of yeasts and bacteria during microbiological control in the brewing industries.\nFootnote\nWe offer two media types: the superior granulated GranuCult\n®\n and the cost-efficient powdered NutriSelect\n®\n culture media, depending on your needs. \nThe designations basic, plus, or prime are added to indicate the quality control level, from basic quality control to standard QC plus to prime for full regulatory compliance.\nLegal Information\nGRANUCULT is a registered trademark of Merck KGaA, Darmstadt, Germany\nNutriSelect is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 7
8 | W381829 | L-Alanine | ≥99% | Flavors & Fragrances | Sigma-Aldrich | Disclaimer\nFor R&D or non-EU Food use. Not for retail sale. | 1 | 1 | 1 | 8
9 | 20305 | Molecular Sieve Adsorbent | matrix Molecular Sieve 13X, 60-80 mesh, bottle of 50 g | Analytical Chromatography Products, GC Columns, Accessories & Adsorbents | Supelco | General description\nMolecular sieves are synthetically produced zeolites (naturally occurring aluminosilicate minerals), and are characterized by pores and internal cavities of extremely uniform dimensions. These crystalline materials have three-dimensional structures based on silicon oxide (SiO\n4\n) and aluminum oxide (AlO\n4\n) polyhedra. The polyhedra are linked by their corners to produce an open structure with internal cavities in which molecules can be trapped. These materials are engineered so that access to the internal cavities is through specific and uniform sized pores.\nFor more information about any of our adsorbents, please visit \nsigma-aldrich.com/adsorbents | 0 | 1 | 1 | 9
10 | 34745BC | GDS Listeria Resuspension Buffer Tq | BioControl, For use with GDS Listeria | Pathogen Screening Kits, Instruments & Disposables | Millipore | General description\nGDS \nListeria\n Resuspension Buffer Tq is one of the components of the Assurance\n®\n GDS \nListeria\n monocytogenes Tq, which is a genetic detection system for \nListeria\n \nmonocytogenes\n. It is an automated nucleic acid amplification system for the detection of \nListeria\n monocytogenes from food and environmental samples. This larger size format is commonly purchased with \nListeria\n automation kits for use with Assurance\n®\n GDS PickPen\n®\n PipetMax\n®\n (PPMX).\nApplication\nGDS \nListeria\n Resuspension Buffer Tq is used during sample preparation for the detection of \nListeria\n \nmonocytogenes\n from food and environmental samples.\nComponents\nOne bottle, 70 mL\nCompatibility\nBioControl GDS\nTesting Method\nPCR\nLegal Information\nAssurance is a registered trademark of Merck KGaA, Darmstadt, Germany\nPICKPEN is a registered trademark of Merck KGaA, Darmstadt, Germany\nPIPETMAX is a registered trademark of Gilson, Inc | 1 | 1 | 0 | 10
11 | P-009 | Pentobarbital-D5 solution | 100 μg/mL in methanol, ampule of 1 mL, certified reference material, Cerilliant® | Certified Reference Materials, Controlled Substances & Illicit Drug Standards | Supelco | General description\nA stable-labeled internal standard suitable for pentobarbital testing by GC/MS or LC/MS for clinical toxicology, forensic analysis, or urine drug testing applications. Pentobarbital is a short-acting barbiturate and hypnotic sold under the trade name Nembutal\n®\n and approved for treatment of seizures and preoperative sedation. Also known as pentobarbitone, the sodium salt of pentobarbital is used as an anesthetic in veterinary medicine.\nLegal Information\nCERILLIANT is a registered trademark of Merck KGaA, Darmstadt, Germany\nNembutal is a registered trademark of Oak Pharmaceuticals, Inc.\nSnap-N-Shoot is a registered trademark of Cerilliant Corporation\nSnap-N-Spike is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 11
12 | 1.08310 | o-Toluidine | GR for analysis | Chromatography & Spectroscopy Reagents | Supelco | Analysis Note\nAssay (GC, area%): ≥ 99.5 % (a/a)\np-toluidine and m-toluidine (GC, area%): ≤ 0.40 % (a/a)\nWater (K. F.): ≤ 0.10 %\nChloride (Cl): ≤ 0.0005 %\nHeavy metals (as Pb): ≤ 0.0001 %\nSulfated ash: ≤ 0.005 %\nIdentity (IR): passes test | 1 | 1 | 1 | 12
13 | 1.09081 | Silver nitrate solution | c(AgNO3) = 0.1 mol/l (0.1 N), Titripur®, reag. Ph. Eur., reag. USP | Titration Reagents | Supelco | General description\nc(AgNO₃) = 0.1 mol/l (0.1 N) Titripur\n®\n Reag. Ph Eur,Reag. USP\nFeatures and Benefits\nAccreditation:\nThis volumetric solution is analyzed by our calibration laboratory D-K-15185-01-00 which is accredited according to DIN EN ISO/IEC 17025 for analysis of amount-of-substance concentrations in volumetric solutions by DAkkS (Deutsche Akkreditierungsstelle - German National Accreditation Body). The accreditation certificate can be found at www.sigmaaldrich.com/ISO17025.\nLinkage\nReplaces: EM3214-1; EM3214\nAnalysis Note\nForm liquid\nAmount-of-substance concentration 0.0995 - 0.1005 mol/L\nMeasurement uncertainty ± 0.0003 mol/L\nTraceability NIST SRM\nThe concentration is determined by volumetric titration and refers to 20°C. \nThe amount-of-substance concentration of this volumetric solution is traceable to a primary standard reference material (SRM) from the National Institute of Standards and Technology, Gaithersburg, USA (NIST SRM 999 potassium chloride) by means of volumetric standard sodium chloride (article number 1.02406), certified reference material according to ISO 17034, analyzed by our accredited calibration laboratory of Merck KGaA, Darmstadt, Germany according to DIN EN ISO/IEC 17025. The uncertainty is expressed as expanded measurement uncertainty with a coverage factor k=2 covering a confidence level of 95%. \nNote: The titer is a correction factor to correct for variations of the volumetric solution, the titration equipment, the temperature and other laboratory conditions. For correct titration results it is recommended to determine a titer with the laboratory specific equipment and under laboratory specific conditions directly after opening a new bottle and at regular time intervals.\nLegal Information\nTitripac is a registered trademark of Merck KGaA, Darmstadt, Germany\nTitripur is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 13
14 | SI1M490A1 | MPGL200 TC IN/HB OUT 3/PK |  |  | Millipore |  | 0 | 1 | 0 | 14
15 | 1.03981 | M-FIX® spray fixative | for cytodiagnosis | Cytology Stains, Hematology Stains, Tissue Diagnostics Universal Reagents | Sigma-Aldrich | General description\nM-FIX\n®\n spray fixative - for cytodiagnosis, is a fixative spray that is suitable for the wet fixation of gynaecological and non-gynaecological preparations processed in Papanicolaou staining. M-FIX\n®\n contains polyglycols in alcoholic solution and a rapid and secure fixation of specimens is possible. Its formulation enables stabilization of the material upon alcohol fixation and forms a protective film against desiccation and damage to the specimen material. \n100 ml M-FIX\n®\n is sufficient for approx. 250 applications. This product is registered as IVD and CE marked. For more details, please see instructions for use (IFU). The IFU can be downloaded from this webpage.\nLegal Information\nM-FIX is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 15
16 | 44527 | 4,5-Dimethyl-3-hydroxy-2,5-dihydrofuran-2-one | analytical standard | Food & Cosmetic Component Standards | Supelco | Application\n4,5-Dimethyl-3-hydroxy-2,5-dihydrofuran-2-one may be used as an analytical reference standard for quantification of the analyte in beer samples using gas chromatography (GC).\nRefer to the product′s Certificate of Analysis for more information on a suitable instrument technique. Contact Technical Service for further support.\nPackaging\nBottomless glass bottle. Contents are inside inserted fused cone. | 1 | 1 | 1 | 16
17 | NAU0005L30EP5 | Mobius® Silver 2D Assembly End Ported Bag | 5L Standard PureFlex™ | Single-Use Assemblies, Single-Use Mixers | Millipore | Components\nPlatinum-cured Silicone, 3/8 in. ID x 5/8 in. OD, 18 in. long with NovaSeal technology\nC-Flex 374 tubing, 3/8 in. ID x 5/8 in. OD, 18 in. long\nPlatinum-cured Silicone, 1/4 in. ID x 1/2 in. OD, 18 in. long\nPinch clamp\nLegal Information\nEmprove is a registered trademark of Merck KGaA, Darmstadt, Germany\nMOBIUS is a registered trademark of Merck KGaA, Darmstadt, Germany\nPUREFLEX is a trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 0 | 17
18 | 37022 | (−)-Scopolamine hydrochloride | analytical standard | Food & Cosmetic Component Standards, Phytochemical Standards | Supelco | General description\n(−)-Scopolamine hydrochloride belongs to the class of naturally occurring tropane alkaloids of medicinal interest,\n found in several members of the \nSolanaceae \nfamily, commonly \nAtropa belladonna \nand representatives of the genera \nDatura\n and \nDuboisia\n.\nFor the analysis of the phytotoxins. \nApplication\n(−)-Scopolamine hydrochloride may be used as a precursor for the preparation of scopolamine, employed as an analytical standard for the quantification of the scopolamine in the floral nectar and plant organs of \nDatura\n species\n using various chromatographic techniques.\nRefer to the product′s Certificate of Analysis for more information on a suitable instrument technique. Contact Technical Service for further support.\nBiochem/physiol Actions\nCompetitive nonselective muscarinic acetylcholine antagonist. Scopolamine-induced amnesia in laboratory animals is a commonly-used model of memory deficit.\nReconstitution\nDried down, concentration of (S)-(-)-Scopolamine (free base) after reconstitution ~100μg/mL \nAnalysis Note\npurity : ≥96.0% (HPLC) | 1 | 1 | 1 | 18
19 | A211050 | DMT-2′O-TBDMS-rA(bz) Phosphoramidite | configured for (ÄKTA® and OligoPilot®) | Nucleosides and Nucleotides | Sigma-Aldrich | General description\nRNA phosphoramidites, along with RNA CPG, and analogous to DNA synthesis support the synthesis of sequence-specific RNA oligonucleotides for RNA interference (RNAi) and can be used in target validation and other drug development techniques. Modern phosphoramidite-mediated synthesis has enabled routine high-yielding preparations of RNA oligonucleotides. High-quality RNA phosphoramidites are key to low failure rates, the high biological activity of synthesis products, and cost-effectiveness.\nKey Features\nIndustry-standard 2′O-TBDMS protective group\nConsistent lot-to-lot purity and performance\nCompatible with deprotection methods based on methylamine or AMA\nStandard RNA phosphoramidites provide excellent coupling results when used with ETT or BTT as an activator; best results are obtained with activator 42\nCapping with standard acetic anhydride capping reagent rather than with fast Deprotection Cap A\nManufactured under a certified ISO 9001 quality system\nDMT-2′O-TBDMS-rA(bz) Phosphoramidite is configured for ÄKTA and OligoPilot Synthesizers.\nLegal Information\nOligoPilot is a registered trademark of Cytiva\nÄKTA is a registered trademark of Cytiva | 1 | 1 | 1 | 19
20 | P-158 | Prochlorperazine dihydrochloride solution | 1 mg/mL (Methanol with 1% 1 M HCl), certified reference material, ampule of 1 mL, Cerilliant® |  | Supelco | General description\nThis Certified Spiking Solution\n®\n is suitable for use as starting material in calibrators or controls for a variety of LC/MS or GC/MS applications from therapeutic drug monitoring, forensic analysis and clinical toxicology to urine drug testing. Prochlorperazine sold under brand names such as Compro among others, is a medication used to treat nausea, schizophrenia, migraines, and anxiety.\nLegal Information\nCERILLIANT is a registered trademark of Merck KGaA, Darmstadt, Germany\nCERTIFIED SPIKING SOLUTION is a registered trademark of Cerilliant Corporation\nSnap-N-Shoot is a registered trademark of Cerilliant Corporation\nSnap-N-Spike is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 20
21 | V3254 | Vitamin B12-Agarose | saline suspension | Chromatography & Spectroscopy Reagents | Supelco | Physical form\nSuspension in 0.5 M NaCl containing preservative | 1 | 1 | 1 | 21
22 | SPK94440004 | IP440 ADJUSTER BED SUPPORT KIT |  | Chromatography Systems for Bioprocessing | Millipore |  | 0 | 1 | 0 | 22
23 | 72225 | Nickel(II) acetate tetrahydrate | purum p.a., ≥99.0% (KT) | High-Purity Salts, Inorganic Catalysts, Nickel Catalysts, Transition Metal Catalysts | Sigma-Aldrich | Application\nUsed in synthesis of polynuclear-nickel polyoxotungstate cluster compounds that are ideal for the design of molecular magnets. | 1 | 1 | 1 | 23
24 | D5318 | DCP-LA | ≥95% (HPLC), oil |  | Sigma-Aldrich | Biochem/physiol Actions\nDCP-LA is a selective PKC-epsilon (PKC-ε) activator. In the in situ PKC assay with a reversed phase high-performance liquid chromatography, DCP-LA significantly activated PKC in PC-12 cells in a concentration (10 nM-100 μM)-dependent manner, with the maximal effect at 100 nM. DCP-LA has over a 7-fold greater potency for activation of PKC-ε over other PKC isozymes.\nFeatures and Benefits\nThis compound is featured on the \nPKC\n page of the Handbook of Receptor Classification and Signal Transduction. To browse other handbook pages, \nclick here\n. | 1 | 1 | 1 | 24
25 | 23-026-M | SCF-TrCP1 Protein Complex, Active, 10 µg | Active complex of four (4) recombinant human enzymes: full length Skp1, full length Cul1, full length Rbx1, & βTrCP1 (amino acids 53-end). For use in Enzyme Assays. Functions as an E3 ligase in ubiquitination assays. |  | Sigma-Aldrich | General description\nN-terminal GST-tagged, recombinant human Smurf1 full length, expressed in E coli.\nThe SCF (Skp1-Cul1-F-box protein) complexes represent the largest family of ubiquitin-protein ligases and mediate the ubiquitination of a broad spectrum of regulatory and signalling proteins in diverse cellular pathways. The SCF consists of three invariant components, Skp1, Cul1, and Rbx1 and an interchangeable subunit, an F-box protein which is responsible for recruiting specific substrates to be ubiquitinated by the SCF. SCF\nβTrCP1\n mediates the ubiquitination and subsequent proteasomal degradation of a variety of proteins involved in various cellular processes, these include IκBα, an inhibitor of the transcription factor NFκB and β-catenin which is involved in the Wnt signalling pathway. A number of cancers, including those in breast, colon and pancreatic tissue have been associated with the deregulation of SCF\nβTrCP1\nApplication\nUbiquitination Cascade Comoponent: E3\nPhysical form\nPurified using glutathione sepharose.\nOther Notes\nFor Specific Activity data, refer to the Certificate of Analysis for individual lots of this enzyme.\nLegal Information\nUPSTATE is a registered trademark of Merck KGaA, Darmstadt, Germany\nDisclaimer\nUnless otherwise stated in our catalog or other company documentation accompanying the product(s), our products are intended for research use only and are not to be used for any other purpose, which includes but is not limited to, unauthorized commercial uses, in vitro diagnostic uses, ex vivo or in vivo therapeutic uses or any type of consumption or application to humans or animals. | 1 | 1 | 1 | 25
26 | 39865 | Calcium Standard for IC | TraceCERT®, 1000 mg/L Ca+2 in nitric acid (nominal concentration), Manufactured by: Sigma-Aldrich Production GmbH, Switzerland | Analytical Chromatography Products, Chromatography Standards, Ion Chromatography Standards | Supelco | General description\nThis certified reference material (CRM) is produced and certified in accordance with \nISO/IEC 17025\n and \nISO 17034\n.This CRM is traceable to SI unit kg and measured against primary material from an NMI, e.g. NIST. \nCertified content incl. uncertainty and expiry date are given on the certificate. Information about trace impurities are stated on the certificate.\nDownload your certificate at: http://www.sigma-aldrich.com.\nLinkage\nVisit the\n \nIC Portal\n \nto learn more\nAnalysis Note\n1000 mg/L Ca\n2+\n in ≤0.1% nitric acid, prepared with high purity CaCO\n3\n, HNO\n3\n and water\nLegal Information\nTrace\nCERT\n is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 26
27 | 32304 | Ammonium oxalate monohydrate | puriss. p.a., ACS reagent, reag. ISO, reag. Ph. Eur., 99.5-101.0% | Salts | Sigma-Aldrich | General description\nAmmonium oxalate monohydrate is the diammonium salt of oxalic acid. Its refined crystal structure has been investigated by three-dimensional diffraction studies.\n Influence of bivalent [Mn(II), Co(II), Ni(II)] and trivalent cations [Fe(III), Cr(III)] impurities on the growth rates of ammonium oxalate monohydrate crystals has been described.\n Its space group and unit cell parameters have been analyzed by neutron diffraction studies.\n Its IR spectra has been compared with that of isolated coal-solubilizing agent (CSA).\nApplication\nAmmonium oxalate monohydrate may be used to prepare an electrochemiluminescence (ECL) solution containing 1mM tris(2,2-bipyridyl)ruthenium(II) (Ru(bpy)\n3\n2+\n) and \n \n0.2mM ammonium oxalate monohydrate in a 0.1M ammonium acetate buffer at pH 5.0. | 1 | 1 | 1 | 27
28 | 296457 | Octanoic acid-1-13C | 99 atom % 13C | Stable Isotopes | Sigma-Aldrich | General description\nOctanoic-1-\n13\nC acid is an isotopic analogue of octanoic acid.\nApplication\nOctanoic-1-\n13\nC acid is used to study the dehydrogenase of medium chain acyl-CoA using Resonance Raman (RR) study.\nPackaging\nThis product may be available from bulk stock and can be packaged on demand. For information on pricing, availability and packaging, please contact \nStable Isotopes Customer Service\n. | 1 | 1 | 1 | 28
29 | 245S | Epstein-Barr Virus Positive Control Slides | suitable for immunohistochemistry (formalin-fixed, paraffin-embedded sections) | Cell Marque™ Control Slides | Sigma-Aldrich | General description\nEpstein-Barr Virus positive control slides are intended for use as positive controls for immunohistochemical (IHC) staining using an anti-Epstein-Barr Virus antibody.\nPhysical form\nParaffin embedded tissue section mounted on microscope slide\nOther Notes\nFor Technical Service please contact: 800-665-7284 or email: service@cellmarque.com\nControl slide products are manufactured from human biological samples (HBS). Purchaser shall not make any attempt to trace or identify donors from whom the HBS material was obtained. Purchaser shall use any data (including genetic information), generated with or by use of the HBS only in compliance with obligations of confidentiality and non-use equivalent with all applicable international and national legislation and guidelines on the protection of personal data and confidentiality. In addition to the use restrictions contained on the product label and/or product datasheet or other applicable use terms and conditions of sale, Purchaser agrees to use the HBS solely in accordance with the World Medical Association (WMA) Declaration of Helsinki adopted in 1964 as subsequently amended by WMA on Ethical Principles for Medical Research Involving Human Subjects.\nLegal Information\nCell Marque is a trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 29
30 | 1.70390 | Zirconium ICP standard | traceable to SRM from NIST ZrCl₄ in HCl 7% 10000 mg/l Zr Certipur® | ICP & AAS standards | Supelco | General description\nThis certified reference material (CRM) is produced in accordance with ISO 17034 and characterized in accordance with ISO/IEC 17025. This CRM is traceable to SI unit kg and measured against primary material from a National Metrology Institute (NMI), e.g. NIST.\nPlease visit \nISO certificates and Site Quality Self-Assessments\n to access the current certificates of accreditation.\nDownload your certificate at \nhttp://www.sigma-aldrich.com\n to view certified values, including uncertainty, date of expiry, and detailed information about trace impurities.\nOther Notes\nFor a complete product listing of our Certipur\n®\n range of CRMs for ICP and AAS, technical information, and example certificates please visit our \nICP & AAS standards website\nLegal Information\nCERTIPUR is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 30
31 | 1.10404 | GranuCult® plus Letheen-Agar Base modified | according to FDA-BAM, suitable for microbiology | Microbial Culture Media | Millipore | General description\nGranuCult\n®\n plus Letheen Agar Base is used for the microbiological sampling of environmental surfaces that are treated with disinfectants. It is a highly nutritious medium containing Lecithin and Tween\n®\n 80 for neutralizing quaternary ammonium compounds contained in sanitizers. Beef extract and tryptone provide nitrogen, carbon, sulfur, and other essential growth factors. Glucose is the source of energy, and agar is the solidifying agent. The media is a modification of the AOAC formulae.\nApplication\nGranuCult\n®\n plus Letheen Agar is used to neutralize quaternary ammonium compounds, for sampling of environmental surfaces that have been treated with disinfectants.\nFeatures and Benefits\nGranuCult\n®\n offers superior granulated culture media.\nSafe and sustainable due to reduced risks associated with fine dust and toxic substance inhalation, resulting in a safer work environment.\nExcellent wettability, solubility, and free-flowing properties\nConvenient, with minimal component separation and clumping, even under warm or humid conditions.\nHigh batch-to-batch reproducibility\nProlonged shelf life of up to five years\nHigh number of test strains exceeding all regulatory demands\nGranulation technology allows many supplements to be included, with no need to add these separately\nAnalysis Note\nAppearance (clearness): turbid\nAppearance (colour): yellowish-brown\npH-value (25 °C): 7.0 - 7.4\nGrowth (Enterococcus faecalis ATCC 29212 (WDCM 00087)): good to very good\nGrowth (Escherichia coli ATCC 25922 (WDCM 00013)): good to very good\nGrowth (Pseudomonas aeruginosa ATCC 27853 (WDCM 00025)): good to very good\nGrowth (Staphylococcus aureus ATCC 25923 (WDCM 00034)): good to very good\nGrowth (Staphylococcus epidermidis ATCC 12228 (WDCM 00036)): good to very good\nGrowth (Salmonella typhimurium ATCC 14028 (WDCM 00031)): good to very good\nIncubation: 24 - 48 hrs.; 35 °C; aerobic.\nFootnote\nWe offer two media types: the superior granulated GranuCult\n®\n and the cost-efficient powdered NutriSelect\n®\n culture media, depending on your needs. \nThe designations basic, plus, or prime are added to indicate the quality control level, from basic quality control to standard QC plus to prime for full regulatory compliance.\nLegal Information\nGRANUCULT is a registered trademark of Merck KGaA, Darmstadt, Germany\nNutriSelect is a registered trademark of Merck KGaA, Darmstadt, Germany\nTWEEN is a registered trademark of Croda International PLC | 1 | 1 | 1 | 31
32 | L9150 | N-Lauroylsarcosine sodium salt | detergent for use in cell lysis | Detergents - Anionic, Cationic, Zwitterionic, Anti-foaming | Sigma-Aldrich | General description\nSodium lauroyl sarcosinate, the sodium salt of an acyl derivative of sarcosine—a natural amino acid occurring in muscles and body tissues—stands out as a valuable component in molecular biology, biochemical, and cell biology research. Derived from a natural fatty acid and the amino acid derivative sarcosine, N-Lauroylsarcosine is a biodegradable anionic surfactant usually synthesized through acylation and neutralization reactions involving lauric acid and sodium sarcosine.\nThis amino acid-type anionic surfactant, also recognized as a fatty acid amide and detergent, exhibits protein denaturant potency and has been integrated into lysing solutions, such as the cornet assay. Its application extends to lysing protoplasts for chromosomal DNA isolation from Streptococcus mutans. Notably, Lauroylsarcosine Sodium Salt, characterized by its ionic detergent properties, is commonly employed for purifying membrane proteins. Additionally, Sodium Lauroyl Sarcosine also plays a crucial role in concentrated salt solutions, facilitating cell lysis in RNA purification protocols and membrane solubilization. Whether it′s breaking down cell structures or facilitating membrane protein purification, this mild surfactant proves valuable in various applications within the realms of biology and biochemistry.\nApplication\nSuitable for\nsolubilization and separation of membrane proteins\nlysis of cells during the isolation of RNA \ninhibition of hexokinase\nFeatures and Benefits\nSuitable for Molecular Biology, Biochemical and Cell Biology research\nCan be used for Protein Purification and Quantification\nHigh purity product for research applications\nOther Notes\nAnionic surfactant. | 1 | 1 | 1 | 32
33 | F3754 | Ammonium iron(II) sulfate hexahydrate | ReagentPlus®, ≥98% | Salts | Sigma-Aldrich | Legal Information\nReagentPlus\n is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 33
34 | STBMRFA64 | FLUID A | bottle of, ready-to-use, bottle volume 600 mL , filling volume | Microbial Culture Media, Sterility Testing Consumables, Media & Instruments | Millipore | General description\nFluid A is a general rinse buffer in compliance with the European Pharmacopeia (EP) 2.6.1, United States Pharmacopeia (USP) 71 and Japanese Pharmacopeia (JP) 4.06. The product is a clear colorless liquid with a pH of 7.1 ± 0.2 at 25°C. It can be stored at 2-25°C (protected from light) for 12 months. Each bottle has a screw cap with septum closure to reduce the risk of cross-contamination and optimize the disinfection procedures.\nApplication\nFluid A is used to rinse aqueous solutions during sterility testing by membrane filtration. It is also used to dilute soluble solids for the same application. This product is also recommended as a rinsing fluid for membrane filtration of non-sterile products. It is excellent for dissolving or diluting samples, reconstituting commercial microorganisms, or as a transport medium for microorganisms.\nSterility testing\nBioburden testing\nPackaging\nPack of 4 bottles, each bottle with 600 mL Fluid A\nComponents\nScrew cap with septum\nCulture Medium\nFluid A\nLegal Information\nSTERITEST is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 34
35 | F-04 | Modified Barth′s Saline (1X), liquid, without Ficoll® 400 | This solution is used in the culture of Xenopus Oocytes. | Biological Buffers | Sigma-Aldrich | Application\nThis solution is used in the culture of \nXenopus\n Oocytes.\nStorage and Stability\nStore at 2-8°C upto 1 year.\nLegal Information\nFicoll is a registered trademark of Cytiva | 0 | 1 | 1 | 35
36 | 1.09883 | Buffer concentrate | (citrate/hydrochloric acid), traceable to SRM of NIST and PTB for 500 ml buffer solution, pH 3.00 ± 0.02 (20°C) Titrisol® | Physical & Chemical Property Standards | Supelco | General description\nThe Titrisol\n®\n reference buffer concentrate [citrate/hydrochloric acid; pH=3.00±0.02 (20 °C)] is analyzed in the ISO/IEC 17025 accredited calibration laboratory with a combined glass electrode and 5-point calibration according to DIN 19268 against a certified primary standard reference material following DIN 19266. The Titrisol\n®\n concentrated buffer material combines ease of use and maximum precision for the routine calibration and monitoring of pH instruments. To prepare the ready-to-use pH buffer solution, simply dilute the Titrisol\n®\n buffer concentrate.\nFeatures and Benefits\nTraceable to primary standard reference materials from NIST and PTB\nAnalytical standard Grade\nUncertainty data and traceability are documented in a comprehensive and batch-specific Certificate of Analysis.\nAnalysis Note\npH-value (20 °C): 3.00 ± 0.02\nMeasured after dilution to 500 ml with a combination glass electrode after multiple point calibration (according to DIN 19268) with reference materials for the preparation of standard buffer solutions according to DIN 19266.\nLegal Information\nTitrisol is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 36
37 | CS40MS02H1 | Clarisolve® Depth Filters | High-density cell cultures | Clarification Depth Filters & Pretreatment Solutions | Millipore | General description\nThe CLARISOLVE\n®\n Depth Filters are the first primary clarification offering with a gradient density structure specifically designed to the particle size distributions of pretreated feed streams. With improved volumetric capacity and reduced turbidity over currently available depth filters, the clarification step of pretreated feeds can be processed in a significantly reduced footprint without the need for a secondary stage of clarification.\nA μPod scale device, the CLARISOLVE\n®\n depth filter provides the fastest and most efficient way to clarify high-density streams and easily transfer processes from upstream to downstream without the use of centrifugation.\nThis CLARISOLVE\n®\n filter has a filtration area of 0.027 m\n2\n and a Lab Scale Pod device format.\nApplication\nHigh-density cell cultures\nSpecifications\nFilter Grade: 40MS\nPreparation Note\nSterilization Method\nIntegrity is maintained after 2 autoclave cycles of 60 minutes at 123 °C.\nAnalysis Note\nTotal organic carbon (TOC) residue: Post autoclave (1 cycle of 60 minutes at 123 °C) and flushed at a flux rate of 600 LMH pure water flush for 10 minutes. At the end of the flush, a sample was pulled for TOC typical values.\nTotal organic carbon (TOC) residue: TOC for 60HX media was measured at below detectable limits.\nLegal Information\nCLARISOLVE is a registered trademark of Merck KGaA, Darmstadt, Germany\nMILLISTAK+ is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 37
38 | WM20E0071 | EPDM Elastomer Internal kit |  |  | Millipore |  | 0 | 0 | 0 | 38
39 | 83702 | Rhodamine 123 | BioReagent, for fluorescence, ≥85% (HPLC) | Dry Dyes & Certified Stains | Sigma-Aldrich | General description\nRhodamine 123 is a fluorescent dye.\nApplication\nRhodamine 123 has been used:\nas a substrate for P-glycoprotein (P-gp) to read out functional transporter activity in fluorescent accumulation assays\nto label the cells for estimating the P-gp expression by flow cytometry\nin transport studies, was added to the apical to basolateral (AB-transport) or basolateral to apical (BA-transport)\nthe detection of mitochondrial membrane potential (ΔΨm)\nBiochem/physiol Actions\nRhodamine 123 is usually used as a functional reporter for P-glycoprotein (P-gp) in flow cytometry.\nFluorescent dye most commonly used in flow cytometry as functional reporter for Pgp. Functional assays for MDR proteins are better prognostic indicators in cancer therapy than levels of MDR protein expression. Rh 123 can be used in multiparameter analyses without fluorescence interference in combination with common protein labeling dyes such as PE-Cy5 and AMCA (7-amino-4-methylcoumarin-3-acetic acid). Recent reports indicate Rh 123 may also be a substrate of MRP1.\nOther Notes\nSupravital mitochondrial-specific dye | 1 | 1 | 1 | 39
40 | 57491-U | Supel™ Swift HLB SPE Tubes | weight 200 mg (bed), volume 6 mL, pk of 30 ea | Solid Phase Extraction (SPE) and QuEChERS | Supelco | General description\nSupel\n™\n Swift HLB is a co-polymer solid phase extraction (SPE) phase composed of both hydrophilic and lipophilic functional groups. This phase is ideal for extracting a broad range of compounds from aqueous samples, including food and environmental samples, as well as biological samples (eg. serum and plasma). Because of the hydrophilic and lipophilic balanced (HLB) property, the polymer material can selectively retain a wide range of compounds with different polarities and LogP values. Traditional HLB SPE uses a five-step process for sample preparation that normally includes the conditioning of sorbents with an organic solvent followed by an equilibration step to return sorbents to sample loading conditions. The product design allows for direct sample loading onto the sorbent bed, thereby eliminating conditioning of the cartridge. This product feature can both save time and simplify sample preparation, which may also serve to reduce sample processing errors.\nLegal Information\nSupel is a trademark of Sigma-Aldrich Co. LLC | 0 | 1 | 1 | 40
41 | GHS380 | Hematoxylin Solution, Gill No. 3 |  | Cytology Stains, Hematology Stains, Histology Stains | Sigma-Aldrich | Application\nGill formulation No. 3 may be used for cytology and/or histology as a progressive or regressive stain depending on length of staining time.. Used with hematoxylin and eosin staining.\nOther Notes\n6 g/L certified hematoxylin | 0 | 1 | 1 | 41
42 | 64821-U | Flat Bottom Flask | size 125 mL | Laboratory Flasks | Supelco |  | 1 | 1 | 0 | 42
43 | 1.05703 | Molecular sieve 1.0 nm | beads ~ 2 mm |  | Supelco | Analysis Note\nIdentity: passes test\nLoss on ignition (950 °C): ≤ 5 %\nWater absorption capacity (24 hrs.,80 % relative humidity): ≥ 24 % | 1 | 1 | 1 | 43
44 | 4.80672 | Acetonitrile with 0.05% (v:v) Trifluoroacetic acid | LiChrosolv® | Analytical Chromatography Products, Solvents | Supelco | General description\nWith their high degree of UV transmittance, low particle count, low acidity and alkalinity and low evaporation residue level, LiChrosolv solvents are ideal for reproducible separations. Since separations are normally carried out under gradient conditions in analytical HPLC, we offer solvents in \"gradient grade\" as well as \"isocratic grade\". This enables to minimize the gradient effect of the solvent involved.\nAnalysis Note\nAssay (trifluoroacetic acid): 0.045 - 0.055 % (v/v)\nLegal Information\nLICHROSOLV is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 44
45 | 574600 | L-Tryptophan-15N2 | 95 atom % 15N, 95% (CP) | Stable Isotopes | Sigma-Aldrich | Packaging\nThis product may be available from bulk stock and can be packaged on demand. For information on pricing, availability and packaging, please contact \nStable Isotopes Customer Service\n. | 1 | 1 | 1 | 45
46 | 1.09409 | Buffer solution | (boric acid/potassium chloride/sodium hydroxide)traceable to SRM from NIST and PTB pH 10.00 (25°C) Certipur® | Physical & Chemical Property Standards | Supelco | General description\nThe buffer solution is gravimetrically prepared with boric acid, potassium chloride, sodium hydroxide, and high-purity water. Its pH of 10.00 is measured using a combined glass electrode following a 5-point calibration method, in accordance with DIN 19268, against certified primary reference standards as per DIN 19266.\nPlease visit \nISO certificates and Site Quality Self-Assessments\n to access the current certificates of accreditation.\nDownload your certificate at \nhttp://www.sigma-aldrich.com\n to view certified values, including uncertainty and expiry date.\nApplication\nIt is used in analytical procedures for the calibration, qualification, and monitoring of pH measuring instruments and as a control for testing other buffer solutions.\nFeatures and Benefits\nMeasured and qualified in an ISO/IEC 17025 and ISO 17034 accredited laboratory\nTraceable to SRMs from NIST and primary certified reference standards from PTB \nReady-to-use solution available in a sealed bottle and an innovative Titripac\n®\n packaging for positive environmental impact due to reduced waste generation\nLong-lasting with a shelf life of 3 years \nAccompanied with a detailed certificate of analysis (CoA) for an effective audit\nLegal Information\nCERTIPUR is a registered trademark of Merck KGaA, Darmstadt, Germany\nTitripac is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 46
47 | C83902 | Cobalt(III) acetylacetonate | 98% | Solution & Vapor Deposition Precursors | Sigma-Aldrich | Features and Benefits\nUsed for the preparation of a new family of monoporphyrinates which are interesting for their photochemical and magnetic properties and synthetic applications. | 1 | 1 | 1 | 47
48 | 296325 | m-Xylene | anhydrous, ≥99% | Analytical Chromatography Products, Solvents | Sigma-Aldrich | Application\nm\n-Xylene may be used in the synthesis of 2,4-dimethylbenzophenone via Friedel–Craft acylation with benzoyl chloride over iron-modified tungstophosphoric acid supported on titania.\n It may also undergo chloromethylation in the presence of organic acids under organic-aqueous biphasic conditions to form a mixture of chloromethyl-2,4-dimethylbenzene and 1,3-bis(chloromethyl)-4,6-dimethylbenzene. | 1 | 1 | 1 | 48
49 | 04942078001 | Dispase® II (neutral protease, grade II) | lyophilized, from bacterial, Roche, pkg of 5 × 1 g | Roche® Life Science Products, Tissue Dissociation |  | General description\nDispase is a neutral, rapid-acting, gentle protease that separates intact epidermis from dermis. It also separates cultured intact epithelial cells from the substratum. It cleaves the basement membrane zone and leaves the epithelial cells intact.\nSpecificity\nDispase is a nonspecific metalloprotease.\nApplication\nDispase\n®\n is used for the preparation of cells from a wide variety of different tissues and organs. The enzyme has proven to be a rapid, effective, yet gentle agent for the disruption of extracellular matrix of tissues for releasing single cells for cell culture (primary cell culture) or harvesting cells already in culture to transfer to new substrate (secondary culture).\n Furthermore, it is used to prevent unwanted clumping of cells cultured in suspension.\nFeatures and Benefits\nRapid, effective, yet gentle agent that liberates cells with minimal cell damage\nMaintains cell membrane integrity\nNon-mammalian source - free of mycoplasma and animal virus contamination\nExtremely stable to influences of temperature, pH, and interference by serum components\nEasily inactivated by chelating agents or by dilution\nDelivers higher activity and convenience\nUnit Definition\nOne unit is the enzyme activity which liberates Folin-positive amino acids and peptides corresponding to 1 μmol (181 μg) tyrosine in 1 minute under assay conditions (pH 7.5, +37 °C).\nA practical comparison of Roche units of Dispase\n®\n II with those cited in the Japanese literature (where Dispase\n®\n concentrations of 1,000 to 2,000 units/ml are not uncommon) suggests that one Roche unit equals approximately 600 Japanese units of dispase.\nOne unit of Roche Applied Science Dispase\n®\n equals 181 protease units (PU) measured as release of amino acids equivalent to 1 μg tyrosine per min and ml at pH 7.5 and +37 °C.\nPreparation Note\nActivator: \nOptimal Ca\n2+ \nconcentration is 2 mM. The enzyme preparations contain enough Ca\n2+\n for optimal activity.\nInhibitors:\n EDTA, EGTA, Hg\n2+\n, other heavy metals. Dispase is not inhibited by serum.\nWorking concentration: \n0.6 to 2.4 U/ml\nWorking solution: Preparation of stock and working solutions:\nTo produce a 10 mg/ml stock solution, dissolve the lyophilized Dispase\n®\n II enzyme in HEPES-buffered saline (50 mM HEPES/KOH pH 7.4, 150 mM NaCl). To produce the working solution, dilute the above stock solution with the culture medium for the isolated cells, at a final concentration of 0.6 to 2.4 U/ml. Note that concentrations higher than 2.4 U/ml are not recommended. For best results, filter the working solution using a 0.22 μm filter membrane.\nStorage conditions (working solution): \n-15 to -25 °C\nThe reconstituted stock solution is stable at 2 to 8 °C for 2 weeks. For storage up to 2 months the stock solution should be frozen in aliquots. Avoid repeated freezing and thawing! The working solution diluted with PBS is stable at 2 to 8 °C for 3 days.\nStorage and Stability\nStore at 2 to 8 °C. (Store dry!)\nOther Notes\nFor life science research only. Not for use in diagnostic procedures.\nLegal Information\nDispase is a registered trademark of Godo Shusei Co., Ltd. | 1 | 1 | 1 | 49
50 | W409901 | 2,4-Dimethyl-1,3-dioxolane | ≥98%, FG | Flavors & Fragrances | Sigma-Aldrich | Other Notes\nDownload our \nFlavors and Fragrances Catalog\n to view our entire product line.\nSubscribe to our Newsletter\n to keep up to date on our latest Flavors and Fragrances offerings. | 1 | 1 | 1 | 50
51 | 70121 | Methyl myristoleate | analytical standard |  | Supelco | Application\nRefer to the product′s Certificate of Analysis for more information on a suitable instrument technique. Contact Technical Service for further support. | 1 | 1 | 1 | 51
52 | 42123 | Mettler-Toledo Calibration substance ME 30130599, Sodium acetate anhydrous | tracable to primary standards (LGC) | Physical & Chemical Property Standards | Supelco | General description\nSodium acetate is the sodium salt of acetic acid with a wide variety of chemical, biochemical and food applications of both laboratory and industrial scale.\nMettler-Toledo calibration substance ME 30130599, sodium acetate anhydrous is an analytical standard, ideal for the regular monitoring of Mettler-Toledo melting point instrument. Its value is a mean of 6 to 12 iterations with a Mettler-Toledo MP90 Excellence instrument that is calibrated against primary standards. The melting point is validated by Capillary method according to European Pharmacopeia (2.2.14.)\nApplication\nSodium acetate anhydrous Mettler-Toledo calibration substance ME 30130599 is used to calibrate Mettler-Toledo melting point instruments.\nFeatures and Benefits\nMelting point calibration standard traceable to a primary standard (LGC)\nMelting point measured in both thermodynamic and pharmacopeia modes for physically correct and heating rate dependent melting point analyses, respectively\nAvailable with certificates of analysis and safety data sheet\nA product of analytical standard grade to help meet the QC/QA requirements of melting point determination\nMeasurement of uncertainty up to ± 0.4 °C | 1 | 1 | 1 | 52
53 | 902885 | Cabinet wall duct 55 mm | 10 mm connector (connections on both sides) | Safe Handling | Supelco | General description\nIndividual solvent supply installations often work with safety cabinets and and fume hoods. This cabinet wall duct can be used as the link between the inner and outer side of the safety cabinet with a max. wall thickness of 55 mm. Connection ends are 10 mm tube ends.\nwith 10 mm tubing connections on both sides, 22 mm diameter, 115 mm length | 0 | 1 | 0 | 53
54 | HPLG00150IN2 | End Cap, 1in -1 1/2in TC, 316L stainless steel |  |  | Millipore |  | 0 | 0 | 0 | 54
55 | 218472 | Tetramethyl orthosilicate | 98% | Organosilicon Reagents, Solution & Vapor Deposition Precursors | Sigma-Aldrich | Application\nTetramethyl orthosilicate (TMOS) is popularly used in the sol-gel synthesis of silicates1 and chromium-doped silicates and in the formation of hexagonal mesoporous silica layers.\nUsed in the sol-gel synthesis of chromium-doped silicates and in the formation of hexagonal mesoporous silica layers. | 1 | 1 | 1 | 55
56 | 1.09877 | OGYE selective supplement | for yeasts, for molds, pkg of 10 vials, for use with OGYE agar, Base | Microbial Culture Media, Supplements for Cell Culture | Millipore | General description\nOGYE Selective Supplement contains oxytetracycline in lyophilized form. It suppresses the growth of accompanying bacterial flora during culturing yeasts and molds.\nApplication\nOGYE Selective Supplement is an additive used during the OGYE Agar Base during the preparation of OGYE Selective Agar for enumeration of yeasts and molds in food.\nCompatibility\nFor use with OGYE agar, Base (\n1.05978\n)\nLinkage\nReplaces: 1.09877.0017\nAnalysis Note\nTested in OGYE-agar base art. no. 1.05978.\nRecovery on test medium\n - Candida albicans ATCC 10231 (WDCM 00054): \n≥ 50 %\n - Saccharomyces cerevisiae ATCC 9763 (WDCM 00058): ≥ 50 %\n - Aspergillus brasiliensis (formerly A. niger) ATCC 16404 (WDCM 00053): ≥ 50 %\n - Penicillium aurantiogriseum ATCC 16025: ≥ 50 %\nGrowth\n - Bacillus subtilis ATCC 6633 (WDCM 00003): \nnone\n - Escherichia coli ATCC 25922 (WDCM 00013): none\nIncubation: 3 up to 5 days; 28 °C; aerobic. | 1 | 1 | 1 | 56
57 | 1.01907 | Silica gel | granules, desiccant ~ 2 - 5 mm |  | Supelco | Analysis Note\nBulk density: about 70\nLoss on drying (180 °C): ≤ 2.0 %\nWater absorption capacity (24 hrs.,80 % relative humidity): ≥ 25.0 % | 0 | 1 | 1 | 57
58 | T1283 | holo-Transferrin bovine | Iron-saturated, BioReagent, suitable for cell culture | Albumins and Transport Proteins, Supplements for Cell Culture | Sigma-Aldrich | Application\nTransferrin is the primary iron binding and cell delivery molecule present in serum. Serum-free cell culture systems require a delivery format for iron. Transferrin is the preferential delivery form of iron because cells process transferrin bound iron in a physiologically appropriate way through transferrin receptors on the cell surface. Bovine holo-transferrin can be used with a wide range of cells types. Bovine holo-transferrin is loaded with iron prior to use and can be added directly to iron poor or iron-free cell culture media.\nAnalysis Note\nPurity by agarose gel electrophoresis. | 1 | 1 | 1 | 58
59 | 08299 | Cyclopentanone | analytical standard | Analytical Chromatography Products, Chromatography Standards, Food & Cosmetic Component Standards, Organic Pollutant Standards | Supelco | General description\nCyclopentanone is one of the industrially important compounds employed in the synthesis of fungicides, pharmaceuticals, rubber chemicals and perfume products.\nApplication\nCyclopentanone may be used as a reference standard for the determination of cyclopentanone in:\nPyrolysis oil samples by gas chromatography with flame ionization detector (GC-FID) as well as two-dimensional GC with time-of-flight mass spectrometry (GC×GC-TOFMS).\nBrazilian sugarcane spirits and rum by high-performance liquid chromatography (HPLC) with ultraviolet-visible (UV-Vis) diode array detector (DAD).\nCrude and hydrotreated bio-oils obtained from various biomass resources by GC×GC-FID as well as GC×GC-TOF MS.\nIndoor air samples of semiconductor foundries by multisorbent adsorption/thermal desorption combined with GC-MS. | 1 | 1 | 1 | 59
60 | GFDX20305PK | GFDX 20 cm x 30 cm sheet | Lateral Flow, Assay Development, lateral flow immunoassays, lateral flow assay device, Immunoassay IVDs | Lateral Flow Membranes | Millipore | General description\nSheets of glass fiber diagnostic pad\nLegal Information\nSUREWICK is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 60
61 | 241R-1 | Cyclin D1 (SP4) Rabbit Monoclonal Antibody |  | Cell Marque™ IHC Antibodies | Sigma-Aldrich | General description\nCyclin D1, one of the key cell cycle regulators, is a putative proto-oncogene overexpressed in a wide variety of human neoplasms. Cyclins are proteins that govern transitions through distinct phases of the cell cycle by regulating the activity of the cyclin-dependent kinases. In mid-to-late G1 phase of the cell cycle, cyclin D1 shows a maximum expression following growth factor stimulation. Anti-cyclin D1 has been successfully employed and is a promising tool for further studies in both cell cycle biology and cancer associated abnormalities. This antibody is useful for separating mantle cell lymphomas (cyclin D1 positive) from CLL/SLL and follicular lymphomas (cyclin D1 negative). Hairy cell leukemia and plasma cell myeloma can weakly express Cyclin D1.\nQuality\nIVD\nIVD\nIVD\nRUO\nLinkage\nCyclin D1 Positive Control Slides, Product No. \n241S\n, are available for immunohistochemistry (formalin-fixed, paraffin-embedded sections).\nPhysical form\nSolution in Tris Buffer, pH 7.3-7.7, with 1% BSA and <0.1% Sodium Azide\nPreparation Note\nDownload the IFU specific to your product lot and format\nNote: This requires a keycode which can be found on your packaging or product label.\nOther Notes\nFor Technical Service please contact: 800-665-7284 or email: service@cellmarque.com\nLegal Information\nCell Marque is a trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 61
62 | 1.10649 | Bacillus subtilis (BGA) spore suspension | Indicator organism for the detection of antimicrobial inhibitors. | Microbial Identification Tests | Millipore | General description\nBacillus subtilis\n (BGA) spore suspension is used for the detection of antimicrobial inhibitors. The antimicrobial inhibitors test is conducted as an agar diffusion test. The spores of \nBacillus subtilis\n (BGA) are the test organisms. The inhibitors inhibit the growth of the test bacteria. The inhibition of growth is indicated by a zone of inhibition measured between the edge of the piece of tissue and the limit of growth. Complete inhibition of growth with an inhibition zone of a minimum of 2 mm can be regarded as a positive result, and an inhibition zone of 1 to 2 mm as a dubious result, if the parallel controls have inhibition zones of approx. 6 mm.\nApplication\nBacillus subtilis\n (BGA) spore suspension is used for the detection of antimicrobial inhibitors in meat products by routine methods. BGA spore suspension is used along with the culture media test agar pH 6.0 \n(1.10663)\n and test agar pH 8.0 \n(1.10664)\n for the inhibitor test. | 1 | 1 | 1 | 62
63 | 1.02765 | Copper oxide | wire fine about 0.65 x 3 mm for elementary analysis (surface: CuO, core: Cu₂O) ACS | Metals | Supelco | Analysis Note\nAssay (oxygen demand as CuO): ≥ 55.0 %\nChloride (Cl): ≤ 0.005 %\nTotal carbon (C): ≤ 0.002 %\nTotal nitrogen (N): ≤ 0.002 %\nTotal sulfur (as SO₄): ≤ 0.005 % | 1 | 1 | 1 | 63
64 | 23319-U | Gold-Plated Inlet Seal (Straight Design) | pkg of 10 ea | Analytical Chromatography Products, GC Columns, Accessories & Adsorbents | Supelco | General description\nThe inlet seal on an Agilent GC must be regularly changed to prevent sample adsorption due to accumulation of sample residue and/or septum fragments. Supelco manufactures replacement inlet seals using a high quality stainless steel plated with \npure gold \nto insure inertness. No brighteners are used in the plating process. This straight design seal is suitable for applications with low split flows (<200 mL/min.). Each pack includes one washer for each seal.\nApplication\nGold-plated inlet seal may be used in the GC injection port for thermal desorption-gas chromatography/mass spectrometry (TD-GC/MS), where residual accumulation was noticed resulting in analyte adsorption and elevating signal background. Hence, replacing the gold-plated seal in regular intervals decreased the interference. | 0 | 1 | 1 | 64
65 | 229393 | Aluminum chloride hydrate | 99.999% trace metals basis | Acids, High-Purity Salts, Inorganic Catalysts | Sigma-Aldrich | General description\nAluminum chloride hydrate is a highly reactive compound that has various applications in different fields. It is commonly used as a catalyst in chemical reactions, including the polymerization of olefins and the Friedel-Crafts reactions, and is known for its Lewis acid properties.\nApplication\nAluminum chloride hydrate can be used as a:\nPrecursor to synthesize high surface area alumina aerogels by sol-gel processing method.\nCatalyst for Friedel-Crafts alkylation of indoles.\nDopant to synthesize Al-doped ZnO thin films by ultrasonic spray pyrolysis.\nStarting material to synthesize Boehmite nanoparticles with controlledmorphology. | 1 | 1 | 1 | 65
66 | 1.11955 | Hemacolor® Rapid staining of blood smear | Solution 1: fixing solution | Cytology Stains, Hematology Stains | Sigma-Aldrich | General description\nHemacolor\n®\n Rapid staining of blood smear - Solution 1: fixing solution, is a ready-to-use solution used for human-medical cell diagnosis and serves the fixing of native blood and bone-marrow smears of human origin in hematological and clinico-cytological specimen materials, for example smears of whole blood and bone marrow. The staining with Hemacolor\n®\n yields a staining result that corresponds to the Pappenheim stain, with predominantly magenta stained nuclei. This is based on the molecular interaction of the Eosin Y dye and a complex of Azur B with DNA. Both dyes assemble to an Eosin Y - Azur B-DNA complex and the intensity of the resulting stain depends on the content of Azur B and the ratio of Azur B : Eosin Y. Furthermore, the resulting stain can vary depending on the influence of fixation, staining times, pH-value of the solutions or buffer substances. By using pH 7.2 buffered solutions with the Hemacolor\n®\n Rapid staining of blood smear solutions, a high stability of the stain and clean, precipitation-free staining results can be guaranteed.\nThe package is sufficient for 1250 - 5000 applications. The buffer tablets according to Weise pH 7.2 (Product number 1.09468) are also available in larger pack sizes, thus, they can be useful for higher demands. The three solutions needed for staining are all available individually as:\nHemacolor\n®\n Rapid staining of blood smear solution 1, fixing solution (Product number 1.11955)\nHemacolor\n®\n Rapid staining of blood smear solution 2, colour reagent red (Product number 1.11956)\nHemacolor\n®\n Rapid staining of blood smear solution 3, colour reagent blue (Product number 1.11957)\nor they can be purchased as staining sets:\n \nHemacolor\n®\n Rapid staining of blood smear (Product number 1.11674) 3 x 100 ml\nHemacolor\n®\n Rapid staining of blood smear (Product number 1.11661) 3 x 500 ml\nFor more details, please see instructions for use (IFU). This product is registered as IVD and CE marked.\nLegal Information\nHEMACOLOR is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 66
67 | S-115 | Suvorexant-D6 solution | 100 μg/mL in methanol, certified reference material, ampule of 1 mL, Cerilliant® | Controlled Substances & Illicit Drug Standards | Supelco | General description\nSuvorexant, sold under the trade name Belsomra, is a medication for the treatment of insomnia, approved for sale by the U.S. Food and Drug Administration (FDA) in 2014. The U.S. Drug Enforcement Administration (DEA) has scheduled this substance as controlled substance, as it may lead to physical or psychological dependence. This stable-labeled internal standard is suitable for use in quantitation of suvorexant levels by GC/MS or LC/MS for applications in clinical toxicology, therapeutic drug monitoring or urine drug testing.\nLegal Information\nCERILLIANT is a registered trademark of Merck KGaA, Darmstadt, Germany\nSnap-N-Shoot is a registered trademark of Cerilliant Corporation\nSnap-N-Spike is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 67
68 | W322601 | 1-Phenyl-1,2-propanedione | 98%, FG | Flavors & Fragrances | Sigma-Aldrich | General description\n1-Phenyl-1,2-propanedione is a volatile flavor compound found in khat leaves\n and cambará honey. | 1 | 1 | 1 | 68
69 | 63590 | May-Grünwald solution | for the staining of blood constituents | Bioprocessing Recombinant Supplements, Microbial Identification Tests | Sigma-Aldrich | Application\nMay-Grünwald solution (Eosin – methylene blue solution) is used with Giemsa stain for histological staining of blood cells.\nOther Notes\nStain for the panoptic staining according to Pappenheim | 1 | 1 | 1 | 69
70 | CDRM6HN05 | Lynx® CDR | Multiple, sterile connections, disconnections and reconnections | Connection/Disconnection for Bioprocessing | Millipore | Application\nMultiple, sterile connections, disconnections and reconnections\nSterile connection of single-use systems\nLegal Information\nEmprove is a registered trademark of Merck KGaA, Darmstadt, Germany\nLYNX is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 0 | 70
71 | 48-624MAG | MILLIPLEX® 2-Plex Phospho/Total p38 - Cell Signaling Multiplex Assay |  | MILLIPLEX® Multiplex for Luminex® Immunoassays | Millipore | General description\nProtein phosphorylation represents a key mechanism used in regulating cellular functions in all eukaryotic cells. Aberrant phosphorylation has been implicated in the onset and development of many diseases including metabolic disorders, inflammatory disease, cancer, etc. Changes in protein phosphorylation can be attributed to changes in both phosphorylation events, as well as changes due to total protein levels. To distinguish the changes in phosphorylation from changes in protein expression it is important to normalize the signal from phosphorylation over the signal from total protein. For this need, the MILLIPLEX® MAP 2-plex Phospho/Total p38 kit has been developed for the simultaneous detection of phosphorylated p38 (Thr180/Tyr182) and total p38 in a single well using the Luminex system. According to the original vendor′s antibody information sheets, phospho-p38 antibody pair detects p38α, p38β and p38γ but not p38-δ, while the total p38 antibody pair detects only p38α. The detection assay is a rapid, convenient alternative to Western Blotting and immunoprecipitation procedures for the analysis of cell lysate samples. Each kit has sufficient reagents for one 96 well plate assay.The MILLIPLEX\n®\n 2-Plex Phospho/Total p38 magnetic bead kit has been developed for the simultaneous detection of phosphorylated p38 (Thr180/Thr182) and total p38 in a single well using the Luminex\n®\n system. This detection assay is a rapid, convenient alternative to Western Blotting and immunoprecipitation procedures for the analysis of cell lysate samples.\nSpecificity\nCross-reactivity between the antibodies and any of the other analytes in this panel is non-detectable or negligible.\nApplication\nIntracellular Bead-Based Multiplex Assays using the Luminex technology enables the simultaneous relative quantitation of multiple phosphorylation or total pathway proteins in tissue and cell lysate samples.An overnight (4°C) incubation is recommended for best results.This assay requires 25 μL diluted, filtered cell lysate per well.This kit must be run using the provided Assay Buffer.The suggested working range of protein concentration for the assay is 1 to 25 μg of total protein/well (25 μL/well at 40 to 1,000 μg/mL)Analytes available:p38 (Total);p38 (Thr180/Tyr182)\nPackaging\n96-well plate\nStorage and Stability\nRecommended storage for kit components is 2 - 8°C.\nLegal Information\nLuminex is a registered trademark of Luminex Corp\nMILLIPLEX is a registered trademark of Merck KGaA, Darmstadt, Germany\nxMAP is a registered trademark of Luminex Corp\nDisclaimer\nUnless otherwise stated in our catalog or other company documentation accompanying the product(s), our products are intended for research use only and are not to be used for any other purpose, which includes but is not limited to, unauthorized commercial uses, in vitro diagnostic uses, ex vivo or in vivo therapeutic uses or any type of consumption or application to humans or animals. | 0 | 1 | 1 | 71
72 | 1.18452 | Aluminium Test Refill pack | for use with MCOLORTEST® | Cannabis Testing Products for Cultivators, Producers & Testing Labs, Colorimetric & Titrimetric Test Kits | Supelco | General description\nThis refill pack contains all the reagents for the MQuant\n®\n test kits 1.18386 and 1.14413 for the colorimetric evaluation of aluminium. When the reagents of the MQuant\n®\n test are used up, the kit can be replenished by ordering the appropriate refill pack. Refill packs are available for a range of MQuant\n®\n test kits, making it a particularly economical system.\nMethod\nIn weakly acidic, acetate-buffered solution aluminium ions react with chromazurol S to form a blue compound. Due to the intrinsic orange coloration of the reagent blank, the measurement solution is orange-red to red in color. The aluminium concentration is measured semiquantitatively by visual colorimetric evaluation.\nThe test can be used for ammonium determination in \nGroundwater and surface water, seawater\nDrinking water and mineral water\nWaters from aquaculture\nBoiler and boiler feed water, cooling water\nProcess water\nIndustrial water\nWastewater and percolating water\nElectroplating wastewater\nSwimming-pool water\nLegal Information\nMCOLORTEST is a registered trademark of Merck KGaA, Darmstadt, Germany\nMQUANT is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 72
73 | 429961 | Triethylgermanium hydride | 98% | Reducing Agents, Solution & Vapor Deposition Precursors | Sigma-Aldrich | General description\nTriethylgermanium hydride (Ge(C\n2\nH\n5\n)\n3\nH) may be prepared by a three step process:\nGe(C\n2\nH\n5\n)\n3\nBr reacted with Na to yield Ge\n2\n(C\n2\nH\n5\n)\n6\nGe\n2\n(C\n2\nH\n5\n)\n6\n treated with Li to form Ge(C\n2\nH\n5\n)\n3\nLi\nammonolysis of Ge(C\n2\nH\n5\n)\n3\nLi to give the end product, Ge(C\n2\nH\n5\n)\n3\nH. 1\nApplication\nReagent undergoes hydrogermylation with alkyl propiolates to give triethylgermylacrylates.\nPackaging\nPackaged in glass bottles | 1 | 1 | 1 | 73
74 | 650498 | Chloroform | HPLC Plus, for HPLC, GC, and residue analysis, ≥99.9%, contains amylenes as stabilizer | Analytical Chromatography Products, Solvents | Sigma-Aldrich | General description\nChloroform is an organic chlorinated hydrocarbon (CHC) commonly used in industries as a solvent.\nApplication\nChloroform may be used in the following: \nExtraction of active constituents of anti-inflammatory drugs for their analysis by attenuated total reflectance-Fourier transform infrared spectroscopic (ATR-FTIR) methods\nEstimation of ascorbic acid, free phenolic acids, and flavonoids in extracts of chloroform, methanol, water and, acetic acid obtained from two edible leaf samples using reversed-phase high-performance liquid chromatography (RP-HPLC) coupled to photodiode array detector (DAD) \nPreparation of cannabis product extracts for the analysis of delta-9-tetrahydrocannabinol (THC) residues on hands of suspected consumers by ion-mobility spectrometry (IMS)\nInvestigation of different solvents to measure their recovery ratios for the extraction of acrylamide and 5-hydroxymethylfurfural (HMF) from seafood samples to develop an HPLC-MS/MS-based method for their quantification\nExtraction of pesticides by direct-immersion single drop micro-extraction (SDME) method from mango samples for their subsequent analysis by GC-MS\nSample preparation in the profiling of lipids from complex biological samples using off-line mixed-mode liquid chromatography coupled with reversed phase high performance liquid chromatography-high resolution mass spectrometry\nChloroform was used in the making of silanized coverslips for DNA combing.\nIt may be used as:\nExtractant in solvent extraction process.\nA component of the binary mobile phases for liquid chromatography–atmospheric pressure photoionization-mass spectrometry (LC–APPIMS) of triacylglycerol model compounds.\nSolvent for recrystallization.\nSuitable for HPLC, spectrophotometry, environmental testing\nRecommended products\nDiscover LiChropur reagents ideal for \nHPLC\n or \nLC-MS\n analysis | 1 | 1 | 1 | 74
75 | A8301 | Albumin, glycated human | lyophilized powder | Albumins and Transport Proteins | Sigma-Aldrich | General description\nAlbumin gene is mapped to human chromosome 4q13.3. It is synthesized as a preproalbumin with 609 amino acids in the liver. The mature albumin comprising 585 residues, is generated by the cleavage of signal peptide. Albumin is the major circulating protein in serum.\n It comprises three domains (I, II and III), each of which is subdivided into two subdomains A and B. A total of six ligand binding site is associated with albumin. Domain IIA and IIIA harbor small heterocyclic or aromatic compounds binding site. Long-chain fatty acid binding sites is present in IB and IIIB domains.\nApplication\nAlbumin, glycated human has been used:\nas a component of serum-free medium for retinal microglia activation\nto stimulate immortalised proximal tubule epithelial (HK-2) cells for fibronectin production\nas medium supplement in human retinal microvascular endothelial cells (HRMECs) cultures to test its effect on family with sequence similarity 18, member B (FAM18B) expression\nNaturally occurring glycated albumin is a sensitive indicator of glycemic control by diabetic patients.\nBiochem/physiol Actions\nAlbumin is crucial for physiological processes and is the major transporter for lipids, metal ions and amino acids.\n It has antioxidant functionality and binds to drugs as well. Mutation in the albumin gene is implicated in an autosomal recessive disorder called Analbuminemia, which is characterized by low levels of albumin.\n The major glycation site is lysine 525 in albumin. Glycated albumin is a marker of glycemia in diabetes mellitus patients\n and is useful in assessment of HbA1c based glycemic control.\nPhysical form\nLyophilized powder containing citrate buffer salts\nPreparation Note\nGlycated \nin vitro\nOther Notes\nView more information on \nhuman serum albumin\n. | 0 | 1 | 1 | 75
76 | 77970 | (S)-(−)-α-Methylbenzyl isocyanate | for chiral derivatization, LiChropur™, ≥99.0% | Chromatography & Spectroscopy Reagents | Supelco | General description\n(S)-(−)-α-Methylbenzyl isocyanate is a useful chiral derivatization reagent for all gas chromatography (GC) applications in the chiral field. It has been employed to meet the requirements for derivatization reagents for enantiomeric excess determinations.\nRecommended products\nDiscover LiChropur reagents ideal for \nHPLC\n or \nLC-MS\n analysis\nLegal Information\nLiChropur is a trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 76
77 | W325104 | 2-Acetylpyridine | ≥99%, FG | Flavors & Fragrances | Sigma-Aldrich | General description\n2-Acetylpyridine is a volatile flavor compound found in rye bread crust and roasted sesame.\n It has also been identified as a key contributor to the “scented rice”-like aroma in Yahonkaoluo leaves and Xiangjing-8618 rice. | 1 | 1 | 1 | 77
78 | SLGSM33SS | Millex®-GS Filter Unit (Sterile) | pore size 0.22 μm, diam. 33 mm, mixed cellulose esters (MCE) membrane, hydrophilic, medical device | Millex® Syringe Filters, Syringe Filters | Millipore | Legal Information\nLuer-Lok is a registered trademark of Becton-Dickinson & Co.\nMF-Millipore is a trademark of Merck KGaA, Darmstadt, Germany\nMillex is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 78
79 | 646563 | DL-Dithiothreitol solution | 1 M in H2O | Chelating & Reducing Agents for Research, Reducing Agents | Supelco | General description\nDithiothreitol (DTT) is used in proteomics applications to maintain sulfhydryl (-SH) groups in the reduced state and for quantitative reduction of disulfide (-S-S-) groups. It is a frequently used reagent in buffers due to its ability to reduce the oxidation state of a protein sample and preserves enzymatic activity. DTT is oxidized to the cyclic disulfide during the reduction of other disulfides in the solution.\nDithiothreitol is an effective reducing agent for protein analysis. The sealed-ampule format is convenient and easy to use when preparing samples for electrophoresis or other applications and avoids waste and loss of potency.\nApplication\nDL-Dithiothreitol solution has been used: \nin western blot analysis\nas a supplement in lysis buffer to study its effects on sperm lysis\nas a component of cold homogenization buffer, and chilled wash buffer for the isolation of nuclei from frozen rat tissues\nin sodium dodecyl sulfate-polyacrylamide gel electrophoresis (SDS-PAGE), chromatography, modification of cysteine-containing compounds\nFeatures and Benefits\nLow toxicity and reduced odor compared to other thiol compounds. | 1 | 1 | 1 | 79
80 | M5775 | Minimum Essential Medium Eagle | With Hanks′ salts and sodium bicarbonate, without L-glutamine, liquid, sterile-filtered, suitable for cell culture | Classical Media & Buffers, Minimum Essential Medium (MEM) | Sigma-Aldrich | General description\nModification of the original MEM formulation. Earle′s salts have been replaced with Hanks′ salts. Since the bicarbonate concentration is substantially lower, this medium has a substantially reduced buffering capacity.\nReconstitution\nSupplement with 0.292 g/L L-glutamine. | 1 | 1 | 1 | 80
81 | N0636 | Nicotinamide | BioReagent, suitable for cell culture, suitable for insect cell culture | Vitamins | Sigma-Aldrich | General description\nNicotinamide (NAM) belongs to vitamin B family and is the amide form of vitamin B3. NAM is present in food and is a constituent of nicotinamide adenine dinucleotide (NAD) and nicotinamide adenine dinucleotide phosphate (NADP). Tryptophan is the precursor for NAM synthesis in liver.\n NAM controls cell metabolism, redox reactions, mitochondrial functionsand energy generation. It promotes natural killer cells proliferation and survival.\n NAM confers neuroprotection and promotes neuronal maturation. It has the ability to cross the blood-brain barrier and may provide protection in ischaemic stroke and traumatic brain injury. NAM may elicit therapeutic benefits in Alzheimer′s, Parkinson′s, and Huntington′s diseases.\nApplication\nNicotinamide has been used as a medium supplement in organoid culture of intestinal stem cells\n, esophageal squamous cell carcinomas(ESCC)\n, pancreatic cancer organoids\n and pancreatic progenitor induction.\nBiochem/physiol Actions\nNicotinamide is an amide derivative of vitamin B3 and a PARP inhibitor | 1 | 1 | 1 | 81
82 | W278009 | trans-2,cis-6-Nonadien-1-ol | ≥95%, stabilized, FCC, FG | Flavors & Fragrances | Sigma-Aldrich | General description\ntrans\n-2,cis-6-nonadien-1-ol has been identified in the volatile fractions of fresh-cut honeydews\n and melons. | 1 | 1 | 1 | 82
83 | 1.01629 | Terrific broth | suitable for microbiology | Microbial Culture Media | Millipore | General description\nfor microbiology\nLinkage\nReplaces: 1016295007\nAnalysis Note\nAppearance (clearness): clear\nAppearance (colour): yellowish-brown\npH-value (25 °C): 7.0 - 7.4\nColony count (Escherichia coli ATCC 23724): ≥ 1E+08 CFU/ml\nColony count (Escherichia coli ATCC 33694): ≥ 1E+08 CFU/ml\nColony count (Escherichia coli ATCC 39403 (JM103)): ≥ 1E+08 CFU/ml\nColony count (Escherichia coli ATCC 47014): ≥ 1E+08 CFU/ml\nColony count (Escherichia coli ATCC 47013): ≥ 1E+08 CFU/ml\nColony count (Escherichia coli ATCC 53868 (DH5a)): ≥ 1E+08 CFU/ml\nIncubation: 24 hrs.; 35 °C; aerobically.\nFootnote\nWe offer two media types: the superior granulated GranuCult\n®\n and the cost-efficient powdered NutriSelect\n®\n culture media, depending on your needs. \nThe designations basic, plus, or prime are added to indicate the quality control level, from basic quality control to standard QC plus to prime for full regulatory compliance.\nLegal Information\nGRANUCULT is a registered trademark of Merck KGaA, Darmstadt, Germany\nNutriSelect is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 83
84 | MDE6501FS1 | Millistak+® Pod Depth Filter | DE65 (media series), cellulose membrane (and inorganic filter aid), effective filtration area 1.4 m2 |  | Millipore | General description\nThe Millistak+\n®\n depth filter media is offered in a scalable, disposable format providing greater flexibility because of its unique modular design. The Millistak+\n®\n MDE6501FS1 comes in a POD format.\nThis DE65 media series delivers optimal performance through a gradient density matri, ideal for primary or secondary clarification applications. Millistak+\n®\n Pod filters are available in three distinct series of media grades in order to meet your specific needs - DE, CE and HC.\nThe Millistak+\n®\n Pod system is ideal for a wide variety of primary and secondary clarification applications, including cell cultures, yeast and E. coli lysates post centrifuge, E. coli refolds, media, vaccines, plasma proteins and sera. \nEasy to Use\nWith the compact, modular design of our Millistak+\n®\n new Pod system, you can increase productivity and shorten cycle times.\nInstallation and setup of the Pod system is simple and straightforward. The unique design of the disposable adapters and disposable manifolds makes it easy to connect the Pod filters to rest of the unit operations in the process. The self-contained and disposable nature of the system protects operators from exposure to biohazards and eliminates maintenance as well as cleaning validation requirements.\nFeatures and Benefits\n \nLow hold-up volume for greater product yield\n \nBroad range of media types offered in single and multilayer products\n \nFlexible, modular format offers scalability from 5 to 12,000 liters or more\n \nPatented disposable design eliminates need for housing, CIP or cleaning validation\n \nSelf-contained Pod filters protect operators from exposure to biohazards\n \nRobust construction is easy to use and set up\n \nSmaller footprint facilitates use in tight spaces\nLegal Information\nMILLISTAK+ is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 0 | 84
85 | 87158 | 1-Tetradecanol | Selectophore™, ≥99.0% | Chromatography & Spectroscopy Reagents | Supelco | General description\nVisit our \nSensor Applications portal\n to learn more.\nLegal Information\nSelectophore is a trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 85
86 | CGW372S03 | Polysep™ II 1.0/0.2 µm nominal, Cartridge | pore size 1.0/0.2 μm, cartridge nominal length 20 in. (50 cm) | Prefilters & Bioburden Control | Millipore | General description\nDevice Configuration: Cartridge\nFeatures and Benefits\nFormat: Double Layer\nPackaging\nDouble Easy-Open bag\nOther Notes\nThese products are manufactured in a facility which adheres to FDA Good Manufacturing Practices.\nDirections for Use:\nOrganism Retention: Microorganism\nMode of Action: Filtration (size exclusion)\nApplication: BioProcessing\nIntended Use: Reduction or removal of microorganism/bioburden\nInstructions for Use: Please refer to the first page of Visual Inspection Guide and introduction section of the Mixed cellulose esters Tech Brief\nStorage Statement: Please refer to the Mixed cellulose esters Tech Brief \nDisposal Statement: Dispose of in accordance with applicable federal, state and local regulations.\nPreparation Note\nSanitization Protocol\n30 min with hot water @ 80 °C\nSterilization Method\n10 autoclave cycles or SIP @ 121 °C for 30 min\nThis product was manufactured with a media combination which meets the criteria for a \"non-fiber releasing\" filter as defined in 21 CFR 210.3 (b) (6).\nAnalysis Note\nGravimetric Extractables: after 24 hours in water at controlled room temperature\nWill meet the USP Oxidizable Substances Test requirements after a water flush of ≥10 L\nLegal Information\nPolysep is a trademark of Sigma-Aldrich Co. LLC | 1 | 1 | 1 | 86
87 | 489204 | Estrone-2,4,16,16-d4 | 95 atom % D | Stable Isotopes | Sigma-Aldrich | Packaging\nThis product may be available from bulk stock and can be packaged on demand. For information on pricing, availability and packaging, please contact \nStable Isotopes Customer Service\n. | 1 | 1 | 1 | 87
88 | 489476 | Glycerol-13C3 | 99 atom % 13C | Stable Isotopes | Sigma-Aldrich | Packaging\nThis product may be available from bulk stock and can be packaged on demand. For information on pricing, availability and packaging, please contact \nStable Isotopes Customer Service\n. | 1 | 1 | 1 | 88
89 | W270202 | 5-Methylfurfural | ≥98%, FG | Flavors & Fragrances | Sigma-Aldrich | General description\n5-Methylfurfural has been identified as one of the volatile flavor compounds in tamarind\n, Dutch Coffee\n, barrel-aged wines\n and deep fat-fried soybeans. | 1 | 1 | 1 | 89
90 | 489646 | Potassium palmitate-1-13C | 99 atom % 13C | Stable Isotopes | Sigma-Aldrich | Packaging\nThis product may be available from bulk stock and can be packaged on demand. For information on pricing, availability and packaging, please contact \nStable Isotopes Customer Service\n. | 1 | 1 | 1 | 90
91 | 23884 | In-Line Pressure Regulator | Ultra-High Purity version (outlet pressure 0-100 psi, 1/8 in. stainless steel fittings) | Analytical Chromatography Products, GC Columns, Accessories & Adsorbents |  | General description\nInstall an in-line pressure regulator downstream of a gas cylinder regulator to adjust pressure closer to the point of use. 400 psig maximum input pressure. 1/8 in. Swagelok nuts and ferrules included.\nApplication\nAir, H\n2\n, N\n2\n, Ar, He | 0 | 1 | 0 | 91
92 | 1.00163 | di-Boron trioxide | for silicate analysis |  | Supelco | General description\nfor silicate analysis\nApplication\nDi-boron trioxide - for silicate analysis\nAnalysis Note\nChloride (Cl)≤ 0.002 %Heavy metals (as Pb)≤ 0.002 %Ca (Calcium)≤ 0.002 %Fe (Iron)≤ 0.0005 %K (Potassium)≤ 0.003 %Mg (Magnesium)≤ 0.0005 %Na (Sodium)≤ 0.003 %Subst. not made volatile by methanolic hydrochloric acid (as SO₄)≤ 0.05 % | 1 | 1 | 1 | 92
93 | ZSTPS200X | TNK PRES SENSOR 200CM 24VDC |  |  |  |  | 0 | 0 | 0 | 93
94 | 47844 | Xylitol | analytical standard | Food & Cosmetic Component Standards, Food Additive Standards | Supelco | General description\nXylitol is a 5-carbon sugar alcohol with antibacterial activity, found in medicines and dental products.\nApplication\nRefer to the product′s Certificate of Analysis for more information on a suitable instrument technique. Contact Technical Service for further support.\nXylitol may be used as a reference standard for the determination of xylitol in food samples by high performance liquid chromatography (HPLC) coupled to charged aerosol detector. | 1 | 1 | 1 | 94
95 | RDYSTRM30 | ReadyStream® Bag Holder | For use with the ReadyStream® system to hold standard size sample bags on the dispensing unit |  | Millipore | General description\nReadyStream\n®\n Standard Bag Holder is an integral part of ReadyStream\n®\n Media Dispensing Unit.\nIt is designed to support the media bag during the dispensing process and is an integral part of the ReadyStream\n®\n Media Dispensing Unit.\nThe ReadyStream\n®\n Standard Bag Holder supports up to 3L of sterile media and prevent spillage\nApplication\nReadyStream\n®\n Standard Bag Holder is used to support and protect the sterile media bad while dispensing process.\nOther Notes\nComponents required but not included: · \nThis catalog number doesn’t include all components that are required for the installation of the entire ReadyStream\n®\n System. \nThe following parts need to be ordered separately along with this product: \nRDYSTRM10. \nRDYSTRM20. \nRDYSTRM40. \nRDYSTRM90. \nRDYSTRAIN01.\nA country specific Power Cord adapted to local electrical requirements. · \nThe indicated Price currently corresponds to the above catalog number only.\nTo access the ReadyStream\n®\n Data Matrix Generator Tool follow this link \nhttps://www.sigmaaldrich.com/US/en/support/calculators-and-apps/readystream-data-matrix-generator\nLegal Information\nREADYSTREAM is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 0 | 95
96 | 1.09259 | Water standard 5 mg/ml | (1 ml contains 5 mg H₂O) Aquastar® | Karl Fischer Standards, Physical & Chemical Property Standards | Supelco | General description\nWater standard 5 mg/ml is a liquid water standard based on long-chain alcohol. \nApplication\nThe 5mg/ml water standard can be used as an analytical standard for daily titer control.\nAnalysis Note\nAssay: 4.980 - 5.020 mg/ml\nLegal Information\nAQUASTAR is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 1 | 96
97 | 5.55360 | DiluCult™ Bag Holder | Bag holder, Accessory to hold the sample bag |  | Millipore | General description\nAccurate microbiology results are highly reliant upon the quality of your sample preparation. Streamline your sample enrichment with our DILUCULT\n™\n gravimetric dilutors. The Bag Holder is an accessory used to firmly hold the sample bag thus preventing sample spillage. It is non autoclavable.\nLegal Information\nDILUCULT is a trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 0 | 97
98 | 27159 | Vials, screw top with phenolic open-top cap, pre-assembled | volume 15 mL, clear glass vial, O.D. × H 21 mm × 70 mm, tan PTFE/silicone septum | Analytical Chromatography Products, Analytical Vials | Supelco |  | 0 | 1 | 0 | 98
99 | 1.05286 | Membrane-filter rinse fluid (USP) | GranuCult®, suitable for microbiology | Microbial Culture Media | Millipore | General description\nMembrane-filter rinse fluid is used to rinse the membrane filter to remove residues of liquid sample materials. It is recommended to use the rinse fluid if the sample contains higher hydrocarbons such as Vaseline, paraffin, etc., or fats. Balanced concentrations of nutrients in the fluid prevent the microorganisms retained by the filter from being exposed to physiological shock, thus enabling them to grow rapidly. The detergent polysorbate 80 ensures the emulsification of carbohydrates and fats without seriously affecting the microorganisms. If the sample contains large quantities of these compounds, additional polysorbate 80 (Tween\n®\n 80) (up to 9.0 g/liter) can be added per the USP recommendations before the broth is filtered.\nApplication\nMembrane-filter rinse fluid is used as a rinsing fluid in the membrane filtration procedure.\nFeatures and Benefits\nGranuCult\n®\n offers superior granulated culture media\nSafe and sustainable due to reduced risks associated with fine dust and toxic substance inhalation, resulting in a safer work environment\nExcellent wettability, solubility, and free-flowing properties\nConvenient, with minimal component separation and clumping, even under warm or humid conditions\nHigh batch-to-batch reproducibility\nProlonged shelf life of up to five years\nHigh number of test strains exceeding all regulatory demands\nGranulation technology allows many supplements to be included, with no need to add these separately\nAnalysis Note\nAppearance (clearness): clear\nAppearance (color): yellow\npH-value (25 °C): 6.7 - 7.1\nGrowth (Staphylococcus aureus ATCC 25923 (WDCM 00034)): +\nGrowth (Streptococcus pyogenes ATCC 12344): +\nGrowth (Enterococcus faecalis ATCC 11700): +\nGrowth (Escherichia coli ATCC 25922 (WDCM 00013)): +\nGrowth (Citrobacter freundii ATCC 8090): +\nGrowth (Pseudomonas aeruginosa ATCC 27853 (WDCM 00025)): +\nIncubation: 18 - 24 hrs.; 35 °C; aerobic streaked on Standard I nutrient agar\nFootnote\nWe offer two media types: the superior granulated GranuCult\n®\n and the cost-efficient powdered NutriSelect\n®\n culture media, depending on your needs. \nThe designations basic, plus, or prime are added to indicate the quality control level, from basic quality control to standard QC plus to prime for full regulatory compliance.\nLegal Information\nGRANUCULT is a registered trademark of Merck KGaA, Darmstadt, Germany\nNutriSelect is a registered trademark of Merck KGaA, Darmstadt, Germany\nTWEEN is a registered trademark of Croda International PLC | 1 | 1 | 1 | 99
100 | 43451 | Stearic acid-1,2,3,4-13C4 | analytical standard |  | Supelco |  | 1 | 1 | 1 | 100
101 | ZLUVWPM01 | Photooxidation UV Lamp | For use with Synergy® systems, For photooxidation of organic compounds | Milli-Q® Lab Water Purification Consumables | Milli-Q | General description\nThis Photooxidation UV lamp is a built-in water purification consumable responsible for producing Type 1 ultrapure water from pretreated water. \nThe dual UV wavelength (185 nm/254 nm) photo-oxidizes trace organic contaminants in ultrapure water to reduce TOC (total organic compounds) to less than 5 ppb. \nFor use with Synergy\n®\n water purification systems.\nApplication\nThis photooxidation UV lamp removes traces of organic contaminants from water.\nFeatures and Benefits\n185 nm and 254 nm UV lamp. \nOxidizes organic compounds to inorganic species. \nLegal Information\nSYNERGY is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 0 | 101
102 | 335657 | Magnesium methoxide solution | 6-10 wt. % in methanol | Analytical Chromatography Products, Caustic Alkalis & Bases, Solution & Vapor Deposition Precursors | Sigma-Aldrich | Application\nEmployed in a sol-gel preparation of nanocrystalline MgO with 1.8-35 nm particle sizes. | 1 | 1 | 1 | 102
103 | 592579 | Heptane | suitable for HPLC, ≥96% | Analytical Chromatography Products, Greener Alternative Products, Solvents | Sigma-Aldrich | General description\nWe are committed to bringing you Greener Alternative Products, which adhere to one or more of The 12 Principles of Greener Chemistry. Heptane is an environmentally preferable solvent and greener alternative to hexane for chromatographic purification and thus has been enhanced for \"Safer Solvents and Auxiliaries\". \nClick here\n for more information.\nTools and techniques for solvent selection: green solvent selection guides\n.\nHeptane (\nn\n-Heptane) is a primary reference fuel (PRF) for the rating of octane numbers of fuels in internal combustion engines. Its cetane number has been reported to be 56. Mechanism and kinetic studies of its oxidation in flow reactors, shock tubes and rapid compression machines have been proposed.\n Its thermal decomposition has been studied under different conditions of temperature and pressure.\n Its oxidative dehydrogenation in the presence of magnesium oxide supported vanadium catalyst has been investigated.\n Molybdenum phosphide supported on Hβ zeolite (MoP/Hβ) catalyzed hydroisomerization of\n n\n-heptane has been reported to be enhanced by doping with secondary metals (Cr, Ni or Ce).\nApplication\nGreener alternatives to Hexane in HPLC.\nHeptane (\nn\n-heptane) may be used:\nTo compose the solvent mixtures for the purification of \nN\n-acylpyrrolidine derivatives of fatty acid methyl esters (FAMEs) by TLC (Thin Layer Chromatography).\nTo generate chiral alcohols and heptanones, via whole cell double oxidation.\nAs a solvent in the synthesis of isopropyl acetate, via esterification of acetic acid with isopropyl alcohol catalyzed by lipase immobilized on silica.\nFeatures and Benefits\nGreener alternative for hexane\nOther Notes\n What is a green solvent? A comprehensive framework for the environmental assessment of solvents \nRecommended products\nDiscover LiChropur reagents ideal for \nHPLC\n or \nLC-MS\n analysis | 1 | 1 | 1 | 103
104 | MPHL20CA3 | Durapore® 0.45 µm, Millipak® Capsule | Millipak® 200, filtration area 1000 cm2, matrix Durapore® | Buffer Filtration, Prefilters & Bioburden Control | Millipore | General description\nDevice Configuration: Capsule\nPackaging\nDouble Easy-Open bag\nOther Notes\nThese products are manufactured in a facility which adheres to FDA Good Manufacturing Practices.\nDirections for Use\nOrganism Retention: Microorganism\nMode of Action: Filtration (size exclusion)\nApplication: BioProcessing\nIntended Use: Reduction or removal of microorganism/bioburden\nInstructions for Use: Please refer Wetting Instructions for Filter Units with Durapore\n®\n Membrane user guide\nStorage Statement: Store in dry location\nDisposal Statement: Dispose of in accordance with applicable federal, state and local regulations.\nPreparation Note\nSterilization Method\n3 autoclave cycles of 90 min @ 123°C; not in-line steam sterilizable\nThis product was manufactured with a Durapore\n®\n membrane which meets the criteria for a \"non-fiber releasing\" filter as defined in 21 CFR 210.3 (b) (6).\nAnalysis Note\nGravimetric Extractables: after 24 hours in water at controlled room temperature\nWill meet the USP Oxidizable Substances Test requirements after a water flush of ≥200 mL\nLegal Information\nDurapore is a registered trademark of Merck KGaA, Darmstadt, Germany\nMILLIPAK is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 0 | 104
105 | 1.05445 | Zinc iodide starch solution | for analysis | Indicators | Supelco | Analysis Note\nSuitability as indicator: conforms | 1 | 1 | 1 | 105
106 | 511692 | Sodium 2-ethylhexanoate | 97% | Solution & Vapor Deposition Precursors | Sigma-Aldrich |  | 1 | 1 | 1 | 106
107 | 1.93211 | Sodium carbonate anhydrous | for analysis EMPARTA® ACS | Salts | Supelco | Biochem/physiol Actions\nBuffer component, may be used for the removal of peripheral membrane proteins.\nPackaging\n1.93211.0521: 500 g, Minimum order quantity: 1\n1.93211.5021: 5 kg, Minimum order quantity: 1\n1.93211.9051: 50 kg, Minimum order quantity: 1\nLegal Information\nEMPARTA is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 107
108 | M-256 | 5-MeO-DMT-D4 solution | 100 μg/mL in methanol, certified reference material, ampule of 1 mL, Cerilliant® |  | Supelco | Legal Information\nCERILLIANT is a registered trademark of Merck KGaA, Darmstadt, Germany\nSnap-N-Shoot is a registered trademark of Cerilliant Corporation\nSnap-N-Spike is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 108
109 | 24187 | SPB®-50 Capillary GC Column | df 0.25 μm, L × I.D. 30 m × 0.32 mm | Analytical Chromatography Products, GC Columns, Accessories & Adsorbents | Supelco | General description\nApplication\n: This column has the highest phenyl content of the common phenyl-containing series of phases. The column is useful for analyses of polar analytes and provides useful confirmational information. It also offers additional selectivity for polynuclear aromatic hydrocarbon isomers over columns with lower phenyl content. \nUSP Code\n: This column meets USP G3 requirements. \nPhase\n:\nBonded\nPoly(50% diphenyl/50% dimethyl siloxane) \nTemp. Limits\n:\n30 °C to 310 °C (isothermal or programmed)\nOther Notes\nWe offer a variety of chromatography accessories including \nanalytical syringes\nLegal Information\nSPB is a registered trademark of Merck KGaA, Darmstadt, Germany | 0 | 1 | 0 | 109
110 | 1.05242 | Ion exchanger Dowex 1-X8 | suitable for ion chromatography | Analytical Chromatography Products, HPLC Columns, LPLC Media & Accessories | Supelco | General description\n(strongly basic anion exchanger), Cl⁻ form\nAnalysis Note\nDescription: pale yellow moist spherules\nTotal capacity (wet): ≥ 1.2 mol/l\nParticle size (0,09-0,25 mm): ≥ 70 %\nLegal Information | 0 | 1 | 1 | 110
111 | AB8178 | EBV NUCLEAR ANTIGEN 3B |  |  | Sigma-Aldrich |  | 0 | 1 | 0 | 111
112 | 61028 | Genapol® C-100 |  | Detergents - Anionic, Cationic, Zwitterionic, Anti-foaming | Sigma-Aldrich | Components\nMajor component: Polyoxyethylene (10) dodecyl ether\nLegal Information\nGenapol is a registered trademark of Clariant GmbH | 1 | 1 | 1 | 112
113 | 1.02695 | Benzyl alcohol | for headspace gas chromatography SupraSolv® | Solvents | Supelco | General description\nSupraSolv\n®\n high-purity solvents for headspace-gas chromatography (HS-GC) are developed specially for the analysis of residual solvents (RS) in active pharmaceutical ingredients (APIs), excipients and drug products according to ICH (International Council for Harmonizaton of Technical Requirements for Registration of Pharmaceuticals for Human Use) Guideline Q3C “Impurities: Guideline for Residual Solvents”.\nApplication\nSolvent for HS-GC analysis of residual solvents of ICH classes 1, 2 and 3 according to Ph. Eur. And USP.\nAnalysis Note\nPurity (GC): ≥ 99.5 %\nIdentity (IR): conforms\nColour: ≤ 10 Hazen\nAcidity: ≤ 0.001 meq/g\nAlkalinity: ≤ 0.002 meq/g\nWater: ≤ 0.1 %\nGC/HS (Every residual solvent of class 1acc. ICH): ≤ 1 µg/g\nGC/HS (Every residual solvent of class 2acc. ICH): ≤ 10 µg/g\nGC/HS (Every residual solvent of class 3acc. ICH): ≤ 50 µg/g\nSuitable as solvent for the analysis of residual solvents of ICH classes 1, 2 and 3 according to Ph Eur and USP.\nEach unknown measured against butyl methyl ketone up to anisole is ≤ 10 µg/g.\nFormic acid, acetic acid, dimethylacetamide and dimethyl sulfoxide are not detected.\nLegal Information\nSUPRASOLV is a registered trademark of Merck KGaA, Darmstadt, Germany | 1 | 1 | 1 | 113